# USER MANUAL

Smart Access Control Dashboard — Guide for Admins & Instructors

# 1. Who This Is For

This guide covers day-to-day use of the web dashboard by the two roles the system supports:

| Role | Can do |
| --- | --- |
| Instructor | View door status, alerts, and access logs (read-only) |
| Admin | Everything an instructor can, plus: override door locks, resolve alerts, and manage users/credentials/schedules via the API |

# 2. Logging In

- Go to the dashboard URL your administrator gave you (e.g. http://<host>:5173 in development, or wherever it's deployed).

- Enter your email and password and select Sign In.

- After 5 incorrect attempts on the same account within a few minutes, the system temporarily locks that login out and tells you how long to wait — this is a deliberate anti-brute-force protection, not a bug. Wait it out or contact your admin.

- Your session stays signed in for about an hour; after that you'll be asked to log in again.

# 3. The Main Dashboard

After logging in you land on the main dashboard, which refreshes itself automatically every 5 seconds — you don't need to reload the page to see current status.

## 3.1 Alert banner

Unresolved alerts (tamper, forced entry, door propped open, offline, access denied, authentication failure) appear at the top of the page. Admins see a Resolve button on each one; instructors see the same list read-only. Resolving an alert marks it handled — it doesn't undo whatever triggered it, so make sure the underlying issue (e.g. a door actually propped open) is actually addressed first.

## 3.2 Door status grid

Each door appears as a card showing:

- Online / offline — whether the door node (or the Building Gateway relaying it) has reported in recently. If a door has been offline longer than expected, check that node's power/network before assuming a dashboard glitch — see Section 5.

- Locked / unlocked — current state as last reported.

- An unlock / lock button (admins only) — see Section 4.

- A view logs link, which loads that door's access history into the table below (Section 3.3).

## 3.3 Access log table

Selecting a door loads its most recent access events (up to 200): timestamp, method (card, card+fingerprint, remote override, or REX/exit button), and result (granted or denied). This is the same data an auditor or investigator would want after an incident — export it via your browser's print-to-PDF or copy the underlying data via GET /api/doors/{id}/logs if you need it in another format (see API_Reference.docx).

# 4. Overriding a Door (Admins Only)

Use this to unlock a door remotely (e.g. a visitor locked out, an instructor without their card) or to force-lock one (e.g. responding to an incident).

- Find the door's card in the status grid.

- Select Unlock or Lock.

- The dashboard shows whether the command was delivered to the door (mqtt_delivered). If it wasn't delivered, the broker or that door's connection is down — the attempt is still logged for audit purposes either way.

Note: An override is logged as its own access event (method: override) distinct from a card/fingerprint read, so the audit trail always shows whether a door was opened by a credential or by an admin's remote command.

# 5. Understanding Door Status Delays

A door's online/offline status is based on when it last actually reported in, not a live video feed — there is an inherent delay, typically a few seconds under normal conditions. If a door (or several doors that share one RS-485 gateway) suddenly show offline together, the most likely cause is the shared gateway or network link, not every individual door node failing at once — check the gateway/network before assuming multiple simultaneous hardware failures.

As of this system's Phase 7 testing, a door that stops reporting (including due to a crashed gateway) is automatically marked offline within about 30-40 seconds even if nothing explicitly says so — you should never see a door that's actually been silent for an hour still showing as "online."

# 6. Managing Users, Credentials & Schedules

The dashboard's web UI currently covers monitoring and override only (Sections 3-4). Administrative tasks that change who has access are done through the backend's interactive API page rather than a dedicated screen — this is a real, current limitation of the UI, not a missing feature of the system underneath it:

- Adding a user or issuing/revoking a card credential: use POST /api/users, POST /api/credentials, or DELETE /api/credentials/{id} via http://<backend-host>:8000/docs (log in there is the same admin token used by the dashboard).

- Setting up a door's access schedule (which hours/days it should unlock automatically for a class): POST/PUT /api/schedules, same interface.

Full request/response details for all of these are in API_Reference.docx. A future iteration of this project would be a good place to add dedicated dashboard screens for these — noted as a real next step, not glossed over.

# 7. Troubleshooting

| Symptom | Likely cause / what to do |
| --- | --- |
| Login says "Too many failed attempts" | Rate limiting after 5 wrong passwords — wait for the stated cooldown, or confirm you have the right password with your admin |
| A door shows offline and won't come back | Check that door's power and network/RS-485 connection; if several doors on one gateway are all offline together, check the gateway host first |
| Unlock button says mqtt_delivered: false | The MQTT broker or that door's connection is currently down; the attempt is logged, but the door likely never received the command — try again once connectivity is confirmed |
| An alert won't go away after resolving it | Refresh — the dashboard polls every 5 seconds, so there can be a brief delay before a resolved alert disappears from the list |
| I need to add a new card or user and don't see how | That's done via the API docs page, not the dashboard yet — see Section 6 |